# Project Handover Process

Project Information

- Project Name

- Project Developer/s (list all from beginning)

- Project Stage (R0, R1, R2)

- Project Gantt Chart

- Project Financial Status

- Nameplate capacity in standard temperature, MVA

- Nameplate capacity in derated temperature, MVA

- POC capacity in standard temperature, MW

- POC capacity in derated temperature, MW

- Geographical connection point

- Connection point voltage level, kV

- Connection point SCR (Minimum and Maximum)

- Connection point X/R (Minimum and Maximum)

- Connection point fault level, MVA

- Connecting NSP

- Generation technologies involved Solar photovoltaic, Battery Energy Storage System (BESS)

- OEM per generation technology

- Voltage droop settings (droop percent & base)

- Frequency droop settings (droop percent & base)

- Inverter HVRT and LVRT thresholds (per unit value & base)

- PPC HVRT and LVRT thresholds (per unit value & base)

Project Stakeholders and Contact Info

- Internal (Vysus) Project Lead (list all from beginning)

- Internal (Vysus) Team Members (list all from beginning)

- NSP contact person/s

- AEMO contact person/s

- Developer contact person/s

- OEM contact person/s

- 3rd Party Advisors / Consultants

Wide Area Studies file locations

- Raw snapshots from AEMO/NSP

- Contingency list

- AEMO/NSP inter trip schemes (if applicable)

- Snapshot tuning instructions

- List of committed generators to be integrated

- PSSE files of committed generators to be integrated

SMIB Software Model file locations

- PSSE model v34

- PSSE model v36

- PSCAD model

- PowerFactory model

OEM model details

- PV model version

- BESS model version

- WTG model version

- PPC model version

- Synchronous machine model version

Connection Package File locations from Latest Submission

- GPS

- Connection Study Report

- DMAT Report

- PSDS

- VCS

- PSSE-PSCAD mapping sheets

- PSCAD RUG

- PSSE RUG

- SSIAG

- Harmonics Report

- Filter Sizing Report

- Declaration of Lowest Withstand SCR (from OEM) 

Location of Latest Simulation Files

| Simulation Types | Location |
| --- | --- |